DC MACHINE

Need curve of

DC Motor

Pconv

Pin = Vt IL                                                                                 Pout

EA IA = Tind ωind                                                             Tapp ωm

Stray loss

Mechanical loss

Core loss

I2R loss

## EQUATIONS

- LOSSES

- Copper Losses (I2R)

      - DC Machine -

      - AC Machine -

- Core Losses – Hysteresis & Eddy

- Mechanical losses – friction & windage

- No load rotational = (mechanical losses + core losses)

- ~Proportional to n3

- Stray losses

- miscellaneous - ~1% of output power

- Brush losses (DC Only)

- N = efficiency =

- Voltage Regulation

- Speed Regulation

  - Positive SR means speed drops with load

CONVERSIONS

  - Rotate a coil inside a magnetic field develops a voltage

    - φ = flux

    - n = speed in rpm

    - - a constant of machine design

Formulas

- Mechanical Power Converted

- Electrical Power Converted

- Output Power

  - AC Machine -

  - DC Machine -

  - For AC,

- RMS Voltage for  1φ

- # poles – p		 repetitions in one rotation

- Frequency

- Voltage Regulation

- Speed Regulation

  - Positive SR means speed drops with load